|  |
| --- |
| **Table 7.2.3.7.5.2 Assessable development - Reconfiguring a lot code - Rural living precinct** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Performance outcomes** | **Examples that achieve aspects of the Performance Outcomes** | **E Compliance**   * **Yes** * **No See PO or** * **NA** | **Justification for compliance** |
| **Structure plan** | |  |  |
| **PO1**  Development is in accordance with Figure 7.2.3.1 - Caboolture West structure plan with regards to:   1. the provision of infrastructure and services associated with reconfiguring a lot and land development; 2. utilities; 3. parks and open space; 4. the recognition and provision of minor green corridors. | No example provided. |  |  |
| **Lot size and design** | |  |  |
| **PO2**  Lot size and design maintains the low density, open space character associated with a rural living environment by achieving a minimum lot size of 6000m2 and an average lot size of 8000m2, except where subdivision of land is for the purpose of a Park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) or Outdoor sport and recreation use([55](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448331)), Utility installation([86](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e449256)) or Telecommunication facility([81](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e449122)) where no minimum lot size applies. | No example provided. |  |  |
| **PO3**  Lot size and design complies with the minimum lot size and dimensions specified in PO2 above and accommodates the following:   1. dwelling house([22](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e447512)) and associated structures; 2. vehicle access, parking and manoeuvring; 3. private open space and landscaping; 4. any required on-site services such as on-site effluent disposal areas, stormwater retention areas; and 5. any necessary buffering from constrained areas and essential infrastructure. | No example provided. |  |  |
| **PO4**  Lot layout and street layout minimises the impacts of cutting, filling and retaining walls on the visual and physical amenity of the streetscape and adjoining lots. | **E4.1**  Development ensures that any cutting, filling, retaining walls and earthworks have maximum vertical dimensions of 1m either as a single element or a step in a terrace or series of terraces. |  |  |
| **E4.2**  Street alignment follows ridges or gullies or run perpendicular to slope. |  |  |
| **PO5**  Lots are of a sufficient grade to accommodate effective stormwater drainage to a lawful point of discharge. | **E5**  The surface level of a lot is at a minimum grade of 1:100 and slopes towards the street frontage, or other lawful point of discharge |  |  |
| **Street design and layout** | |  |  |
| **PO6**  Street layouts provide an efficient and legible movement network with high levels of connectivity within and external to the site by:   1. facilitating increased activity transport through a focus on safety and amenity for pedestrians and cyclist; 2. facilitating possible future connections to adjoining sites for roads, green linkages and other essential infrastructure.  |  | | --- | | Note - Refer to Planning scheme policy - Integrated design for guidance on how to achieve compliance with this outcome. | | **E6**  Development is in accordance with Figure 7.2.3.2 - Movement, major streets, Figure 7.2.3.3 - Movement, walking and cycling. |  |  |
| **PO7**  Streets are designed and constructed to cater for:   1. safe and convenient pedestrian and cycle movement; 2. adequate on street parking; 3. expected traffic speeds and volumes; 4. utilities and stormwater drainage; 5. bio-retention drainage systems in identified minor green corridors; 6. lot access, sight lines and public safety; 7. emergency access and waste collection; 8. landscaping and street furniture.  |  | | --- | | Note - Refer to Planning scheme policy - Integrated design for guidance on how to achieve compliance with this outcome. | | **E7**  Development is in accordance with Figure 7.2.3.2 - Movement, major streets, Figure 7.2.3.3 - Movement, walking and cycling. |  |  |
| **PO8**  Intersections are designed and constructed to provide for the safe and efficient movement of pedestrians, cyclists, public transport and private vehicles. | **E8**  Development is in accordance with Figure 7.2.3.2 - Movement, major streets, Figure 7.2.3.3 - Movement, walking and cycling |  |  |
| **PO9**  Cul-de-sacs or dead end streets are not proposed unless:   1. topography or other physical barriers exist to the continuance of street network; 2. connection to an existing road is not permitted; 3. there is no appropriate alternative solutions, 4. the cul-des-sac or dead end street will facilitate future connections to adjoining land or development. | No example provided. |  |  |
| **Reticulated supply** | |  |  |
| **PO10**  Each lot is provided with an appropriate level of service and infrastructure commensurate with the Rural residential zone.  All services, including water supply, stormwater management, sewage disposal, waste disposal, drainage, electricity, gas and telecommunications, are provided in a manner that:   1. is efficient in delivery of service; 2. is effective in delivery of service; 3. is conveniently accessible in the event of maintenance or repair; 4. minimises whole of life cycle costs for that infrastructure provided; 5. minimises risk of potential adverse impacts on natural and physical environment; 6. minimises risk of potential adverse impact on amenity and character values; and 7. recognises and promotes Councils Total Water Cycle Management policy and the efficient use of water resources.  |  | | --- | | Note - Refer to Planning scheme policy - Integrated design for guidance on how to achieve compliance with this outcome. | | **E10**  New lots are provided with:   1. a water supply being either:    1. connected to a reticulated water supply infrastructure network; or    2. potable water from an on-site water storage supply. 2. a sewage disposal system being either:    1. connected to a reticulated sewerage infrastructure network; or    2. an on-site effluent treatment and disposal system. 3. an electricity supply being either:    1. connected to a reticulated electricity infrastructure network; or    2. separate electricity generation capacity. 4. access to a high speed telecommunication network, where available. |  |  |
| **Boundary realignment** | |  |  |
| **PO11**  Boundary realignment:   1. does not result in the creation, or in the potential creation of, additional lots; 2. does not result in lots of a size or dimension inconsistent with that identified for any precinct or sub-precinct. 3. is an improvement on the existing land use situation; 4. do not result in existing land uses on-site becoming non-compliant with planning scheme criteria; 5. results in lots which have appropriate size, dimensions and access to cater for uses consistent with the precinct; 6. infrastructure and services are wholly contained within the lot they serve; 7. ensures the uninterrupted continuation of lots providing for their own private servicing; 8. do not result in the loss of habitat trees. Where habitat trees are to be cleared, replacement fauna nesting boxes are provided at the rate of 1 nest box for every hollow removed. Where hollows have not yet formed in trees > 80cm in diameter at 1.3m height, 3 nest boxes are required for every habitat tree removed; 9. do not result in adverse impacts on the quality and integrity of the biodiversity and ecological values inherent to a High Value Area identified in Overlay map - Environmental areas. | No example provided. |  |  |
| **Community title and lease** | |  |  |
| **PO12**  Reconfiguring a lot which separates existing or approved buildings whether or not including land, or separates land by way of lease does not result in land uses becoming unlawful or dependant elements of a use being separated by title.   |  | | --- | | Note - Examples may include but are not limited to:   1. Where a commercial or industrial land use contains an ancillary office([53](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448276)), the office([53](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448276)) cannot be separately titled as it is considered part of the commercial or industrial use. 2. Where a Dwelling house([22](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e447512)) includes a secondary dwelling or associated outbuildings, they cannot be separately titled as they are dependent on the Dwelling house([22](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e447512)) use. | | No example provided. |  |  |
| **Volumetric subdivision** | |  |  |
| **PO13**  The reconfiguring of the space above or below the surface of the land ensures appropriate area, dimensions and access arrangements to cater for uses consistent with the precinct and does not result in existing land uses on-site becoming non-complying with planning scheme criteria.   |  | | --- | | Note - Examples may include but are not limited to where a Dwelling house([22](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e447512)) includes a secondary dwelling or associated outbuildings, they cannot be separately titled as they are dependent on the Dwelling house([22](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e447512)) use. | | No example provided. |  |  |
| **Stormwater location and design** | |  |  |
| **PO14**  The development is planned and designed considering the land use constraints of the site and incorporates water sensitive urban design principles. | No example provided. |  |  |
| **PO15**  Stormwater drainage pipes and structures through or within private land are protected by easements in favour of Council with sufficient area for practical access for maintenance.   |  | | --- | | Note - To determine sufficient areas for easements refer to Planning scheme policy - Integrated design. | | No example provided. |  |  |
| **PO16**  Stormwater management facilities are located outside of riparian areas and prevent increased channel bed and bank erosion. | No example provided. |  |  |
| **PO17**  Natural streams and riparian vegetation are retained and enhanced through revegetation. | No example provided. |  |  |
| **PO18**  Areas constructed as detention basins are adaptable for passive recreation. | No example provided. |  |  |
| **PO19**  Development maintains and improves the environmental values of waterway ecosystems within the Green network and minor green corridors. | No example provided. |  |  |
| **PO20**  Constructed water bodies are not dedicated as public assets. | No example provided. |  |  |
| **Stormwater management system** | |  |  |
| **PO21**  The major drainage system has the capacity to safely convey stormwater flows for the defined flood event. | **E21**  The roads, drainage pathways, drainage features and waterways safely convey the stormwater flows for the defined flood event without allowing flows to encroach upon private lots. |  |  |
| **PO22**  Overland flow paths (for any storm event) from newly constructed roads and public open space areas do not pass through private lots. | **E22**  Drainage pathways are provided to accommodate overland flows from roads and public open space areas*.* |  |  |
| **PO23**  Development achieves the design objectives in Tables A and B in Appendix 2 of the SPP.   |  | | --- | | Note - To demonstrate achievement of this performance outcome, a stormwater quality management is prepared by a suitably qualified person in accordance with Planning scheme policy - Stormwater management. | | No example provided. |  |  |
| **PO24**  The stormwater management system is designed to:   1. protect the environmental values in downstream waterways; 2. maintain ground water recharge areas; 3. preserve existing natural wetlands and associated buffers; 4. avoid disturbing soils or sediments; 5. avoid altering the natural hydrologic regime in acid sulphate soil and nutrient hazardous areas; 6. maintain and improve receiving water quality; 7. protect natural waterway configuration; 8. protect natural wetlands and vegetation; 9. protect downstream and adjacent properties; 10. protect and enhance riparian areas.  |  | | --- | | Note - To demonstrate achievement of this performance outcome, a stormwater quality management is prepared by a suitably qualified person demonstrating compliance with the Urban Stormwater Planning Guideline 2010 and considering any local area stormwater management planning prepared by Council. | | No example provided. |  |  |
| **PO25**  Design and construction of the stormwater management system:   1. utilise methods and materials to minimise the whole of life-cycle costs of the stormwater management system; 2. are coordinated with civil and other landscaping works; 3. achieves Councils Total Water Cycle Management policy and the efficient use of water resources.  |  | | --- | | Note - To determine the standards for stormwater management system construction refer to Planning scheme policy - Integrated design. | | No example provided. |  |  |
| **PO26**  Where associated with a minor green corridor (refer Figure 7.2.3.4 - Green network and open space), development will adopt bio-retention systems for stormwater treatment that recognises and promotes Councils Total Water Cycle Management policy and the efficient use of water resources.   |  | | --- | | Note - To determine the standards for stormwater management system construction refer to Planning scheme policy - Integrated design. | | No example provided. |  |  |
| **Park and open space** | |  |  |
| **PO27**  Areas for recreation and open space purposes are provided in locations, and of a size and design standard to meet the recreational needs of the community in accordance with Figure 7.2.3.4 - Green network and open space. | **E27**  Development is in accordance with a Neighbourhood development plan. |  |  |
| **PO28**  The safety and useability of parks([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) is ensured through the careful design of the street network and lot locations which provide high levels of surveillance and access into the park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) or open space area. The provision of parks will consider the following:   1. local and district parks([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) are bordered by streets and not lots wherever possible; 2. where lots do addresses local and district parks([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)), fencing is provided along the park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) boundary at a maximum height of 1m prior to the sealing of the plan of subdivision; 3. the design of fencing and retaining features allows for safe and direct pedestrian access between the park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) and private allotment through the use of private gates and limited retaining features along park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) boundaries. | **E28**  Development is in accordance with a Neighbourhood development plan. |  |  |
| **Clearing of native vegetation** | |  |  |
| **PO29**  Reconfiguring a lot facilitates the retention of native vegetation by:   1. incorporating native vegetation and habitat trees into the overall subdivision design, development layout, on-street amenity and landscaping where practicable; 2. ensuring habitat trees are located outside a development footprint.  Where habitat trees are to be cleared, replacement fauna nesting boxes are provided at the rate of 1 nest box for every hollow removed.  Where hollows have not yet formed in trees > 80cm in diameter at 1.3m height, 3 nest boxes are required for every habitat tree removed. 3. providing safe, unimpeded, convenient and ongoing wildlife movement; 4. avoiding creating fragmented and isolated patches of native vegetation. 5. ensuring that biodiversity quality and integrity of habitats is not adversely impacted upon but are maintained and protected; 6. ensuring that soil erosion and land degradation does not occur; 7. ensuring that quality of surface water is not adversely impacted upon by providing effective vegetated buffers to water bodies. | No example provided. |  |  |
| **PO30**  Compensatory planting is located in the Caboolture West local plan - Green network precinct. | No example provided. |  |  |
| **Noise** | |  |  |
| **PO31**  Noise attenuation structure (e.g. walls, barriers or fences):   1. contribute to safe and usable public spaces, through maintaining high levels of surveillance of parks, streets and roads that serve active transport purposes (e.g. existing or future pedestrian paths or cycle lanes etc); 2. maintain the amenity of the streetscape.  |  | | --- | | Note - A noise impact assessment may be required to demonstrate compliance with this PO.  Noise impact assessments are to be prepared in accordance with Planning scheme policy - Noise. |  |  | | --- | | Note - Refer to Planning Scheme Policy – Integrated design for details and examples of noise attenuation structures. | | **E31**  Noise attenuation structures (e.g. walls, barriers or fences):   1. are not visible from an adjoining road or public area unless; 2. adjoining a motorway or rail line; or 3. adjoining part of an arterial road that does not serve an existing or future active transport purpose (e.g. pedestrian paths or cycle lanes) or where attenuation through building location and materials is not possible. 4. do not remove existing or prevent future active transport routes or connections to the street network; 5. are located, constructed and landscaped in accordance with Planning scheme policy - Integrated design.  |  | | --- | | Note - Refer to Planning Scheme Policy – Integrated design for details and examples of noise attenuation structures. | | Note - Refer to Overlay map – Active transport for future active transport routes. | |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Values and constraints criteria**   |  | | --- | | Note - The relevant values and constraints criteria do not apply where the development is consistent with a current Development permit for Reconfiguring a lot or Material change of use or Operational work, where that approval has considered and addressed (e.g. through a development footprint plan (or similar in the case of Landslide hazard) or conditions of approval) the identified value or constraint under this planning scheme. | | | | |
| **Bushfire hazard (refer Overlay map - Bushfire hazard to determine if the following assessment criteria apply)**   |  | | --- | | Note - The preparation of a bushfire management plan in accordance with Planning scheme policy – Bushfire prone areas can assist in demonstrating compliance with the following performance criteria. The identification of a development footprint will assist in demonstrating compliance with the following performance criteria. | | | | |
| **PO32**  Lots are designed to:   1. minimise the risk from bushfire hazard to each lot and provide the safest possible siting for buildings and structures; 2. limit the possible spread paths of bushfire within the reconfiguring; 3. achieve sufficient separation distance between development and hazardous vegetation to minimise the risk to future buildings and structures during bushfire events; 4. maintain the required level of functionality for emergency services and uses during and immediately after a natural hazard event. | **E32**  Reconfiguring a lot ensures that all new lots are of an appropriate size, shape and layout to allow for the siting of future buildings being located:   1. within an appropriate development footprint; 2. within the lowest hazard locations on a lot; 3. to achieve minimum separation from any source of bushfire hazard of 20m or the distance required to achieve a Bushfire Attack Level (BAL) of more than 29 (as identified under AS3959-2009), whichever is the greater; 4. to achieve a minimum separation from any retained vegetation strips or small areas of vegetation of 10m or the distance required to achieve a Bushfire Attack Level (BAL) of more than 29 (as identified under AS3959-2009), whichever is the greater; 5. away from ridgelines and hilltops; 6. on land with a slope of less than 15%; 7. away from north to west facing slopes. |  |  |
| **PO33**  Lots provide adequate water supply and infrastructure to support fire-fighting. | **E33**  For water supply purposes, reconfiguring a lot ensures that:   1. lots have access to a reticulated water supply provided by a distributer-retailer for the area; or 2. where no reticulated water supply is available, on-site fire fighting water storage containing not less than 10,000 litres and located within a development footprint. |  |  |
| **PO34**  Lots are designed to :   1. promote safe site access by avoiding potential entrapment situations; 2. promote accessibility and manoeuvring for fire fighting during bushfire. | **E34**  Reconfiguring a lot ensures a new lot is provided with:   1. direct road access and egress to public roads; 2. an alternative access where the private driveway is longer than 100m to reach a public road; 3. driveway access to a public road that has a gradient no greater than 12.5%; 4. minimum width of 3.5m. |  |  |
| **PO35**  Lots ensure the road layout and design supports:   1. safe and efficient emergency services access to sites; and manoeuvring within the subdivision; 2. availability and maintenance of access routes for the purpose of safe evacuation. | **E35**  Reconfiguring a lot provides a road layout which:   1. includes a perimeter road that separating the new lots from hazardous vegetation on adjacent lots incorporating by:    1. a cleared width of 20m;    2. road gradients not exceeding 12.5%;    3. pavement and surface treatment capable of being used by emergency vehicles;    4. Turning areas for fire fighting appliances in accordance with Qld Fire and Emergency Services' Fire Hydrant and Vehicle Access Guidelines. 2. Or if the above is not practicable, a fire maintenance trail separates the lots from hazardous vegetation on adjacent lots incorporating:    1. a minimum cleared width of 6m and minimum formed width of 4m;    2. gradient not exceeding 12.5%;    3. cross slope not exceeding 10%;    4. a formed width and erosion control devices to the standards specified in Planning scheme policy - Integrated design;    5. a turning circle or turnaround area at the end of the trail to allow fire fighting vehicles to manoeuvre;    6. passing bays and turning/reversing bays every 200m;    7. an access easement that is granted in favour of the Council and the Queensland Fire and Rescue Service or located on public land. 3. excludes cul-de-sacs, except where a perimeter road with a cleared width of 20m isolates the lots from hazardous vegetation on adjacent lots; and 4. excludes dead-end roads. |  |  |
| **High voltage electricity line buffer** **(refer Overlay map - Infrastructure buffers to determine if the following assessment criteria apply)**   |  | | --- | | Note - The identification of a development footprint will assist in demonstrating compliance with the following performance criteria. | | | | |
| **PO36**  Lots provide a development footprint outside of the buffer. | No example provided. |  |  |
| **PO37**  The creation of lots does not compromise or adversely impact upon the efficiency and integrity of supply. | **E37**  No new lots are created in the buffer area. |  |  |
| **PO38**  The creation of new lots does not compromise or adversely impact upon access to the supply line for any required maintenance or upgrading work. | **E38**  No new lots are created in the buffer area. |  |  |
| **PO39**  Boundary realignments:   1. do not result in the creation of additional building development within the buffer; 2. result in the reduction of building development opportunities within the buffer. | No example provided. |  |  |
| **Overland flow path (refer Overlay map - Overland flow path to determine if the following assessment criteria apply)**   |  | | --- | | Note - The applicable river and creek flood planning levels associated with defined flood event (DFE) within the inundation area can be obtained by requesting a flood check property report from Council. | | | | |
| **PO40**  Development:   1. minimises the risk to persons from overland flow; 2. does not increase the potential for damage from overland flow either on the premises or on a surrounding property, public land, road or infrastructure. | No example provided. |  |  |
| **PO41**  Development:   1. maintains the conveyance of overland flow predominantly unimpeded through the premises for any event up to and including the 1% AEP for the fully developed upstream catchment; 2. does not concentrate, intensify or divert overland flow onto an upstream, downstream or surrounding property.  |  | | --- | | Note - Reporting to be prepared in accordance with Planning scheme policy – Flood hazard, Coastal hazard and Overland flow. | | **E41**  Development ensures that any buildings are not located in an Overland flow path area.   |  | | --- | | Note: A report from a suitably qualified Registered Professional Engineer Queensland is required certifying that the development does not increase the potential for significant adverse impacts on an upstream, downstream or surrounding property. | |  |  |
| **PO42**  Development does not:   1. directly, indirectly or cumulatively cause any increase in overland flow velocity or level; 2. increase the potential for flood damage from overland flow either on the premises or on a surrounding property, public land, road or infrastructure.  |  | | --- | | Note - Open concrete drains greater than 1m in width are not an acceptable outcome, nor are any other design options that may increase scouring. |  |  | | --- | | Note - A report from a suitably qualified Registered Professional Engineer Queensland is required certifying that the development does not increase the potential for significant adverse impacts on an upstream, downstream or surrounding premises. |  |  | | --- | | Note - Reporting to be prepared in accordance with Planning scheme policy – Flood hazard, Coastal hazard and Overland flow | | No example provided. |  |  |
| **PO43**  Development ensures that overland flow is not conveyed from a road or public open space onto a private lot, unless the development is in a Rural zone. | **E43**  Development ensures that overland flow paths and drainage infrastructure is provided to convey overland flow from a road or public open space area away from a private lot, unless the development is in the Rural zone. |  |  |
| **PO44**  Development ensures that Council and inter-allotment drainage infrastructure, overland flow paths and open drains through private property cater for overland flows for a fully developed upstream catchment flows and are able to be easily maintained.   |  | | --- | | Note - A report from a suitably qualified Registered Professional Engineer Queensland is required certifying that the development does not increase the potential for significant adverse impacts on an upstream, downstream or surrounding premises. | | Note - Reporting to be prepared in accordance with Planning scheme policy – Flood hazard, Coastal hazard and Overland flow | | **E44.1**  Development ensures that roof and allotment drainage infrastructure is provided in accordance with the following relevant level as identified in QUDM:   1. Urban area – Level III; 2. Rural area – N/A; 3. Industrial area – Level V; 4. Commercial area – Level V. |  |  |
| **E44.2**  Development ensures that all Council and allotment drainage infrastructure is designed to accommodate any event up to and including the 1% AEP for the fully developed upstream catchment. |  |  |
| **PO45**  Development protects the conveyance of overland flow such that easements for drainage purposes are provided over:   1. a stormwater pipe if the nominal pipe diameter exceeds 300mm; 2. an overland flow path where it crosses more than one property; and 3. inter-allotment drainage infrastructure.  |  | | --- | | Note - Refer to Planning scheme policy - Integrated design for details and examples. | | Note - Stormwater drainage easement dimensions are provided in accordance with Section 3.8.5 of QUDM. | | No example provided |  |  |
| **Additional criteria for development for a Park(**[57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)**)** | |  |  |
| **PO46**  Development for a Park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) ensures that the design and layout responds to the nature of the overland flow affecting the premises such that:   1. public benefit and enjoyment is maximised; 2. impacts on the asset life and integrity of park structures is minimised; 3. maintenance and replacement costs are minimised. | **E46**  Development for a Park([57](http://consult.moretonbay.qld.gov.au/portal/mbrcpsv3?pointId=s1332743658181#target-d60239e448382)) ensures works are provided in accordance with the requirements set out in Appendix B of the Planning scheme policy - Integrated Design. |  |  |