Table 9.4.1.6.4.2 Assessable development - General residential zone - Urban neighbourhood precinct

| Performance outcomes | Examples that achieve aspects of the Performance Outcomes | E Compliance - Yes - No See PO or - NA | Justification for compliance |
| --- | --- | --- | --- |
| Density |  |  |  |
| PO1 Reconfiguring a lot does not compromise future developments ability to achieve a minimum residential site density of 45 dwellings per hectare to ensure efficient use of the land and infrastructure which facilitates feasible public transport patronage and creates a diverse medium density neighbourhood character. | E1 Residential uses have a minimum site density of: - 75 dwellings per ha for sites shown on: - ‘Figure 1 - Kallangur’ - Kallangur; - ‘Figure 2 - Mango Hill’ - Mango Hill; - ‘Figure 3 - Mango Hill East’ - Mango Hill East; - ‘Figure 4 - Murrumba Downs’ - Murrumba Downs; or - ‘Figure 5 Kippa-Ring ’ - Kippa-Ring - 45 dwellings per hectare for all other areas. |  |  |
| Lot design, mix and location |  |  |  |
| PO2 Reconfiguring a lot facilitates the provision of varied housing options, a mix of lot sizes and encourages diversity within the streetscape whilst maintaining the medium to high density character of the precinct. | E2 Lot sizes comply with Lot Types A, B or F in accordance with ‘Table 9.4.1.6.4.3: Lot Types’ - Lot Types. Editor's note - Lots containing built to boundary walls should also include an appropriate easement to facilitate the maintenance of any wall within 600mm of a boundary. For boundaries with built to boundary walls on adjacent lots a 'High Density Development Easement' is recommended; or for all other built to boundary walls and 'easement for maintenance purposes' is recommended.. |  |  |
| PO3 Narrow lots do not adversely affect the character and amenity of the precinct. Residential uses establish in a manner which facilitates an integrated streetscape, maximises the efficient use of land and achieves a safe and efficient street network. Note - Built to boundary walls and driveway locations for lots with frontages of 12.5 metres or less are to be shown on a plan of development in accordance with the requirements of section 9.3.1 - Dwelling house code. | No example provided. |  |  |
| PO4 Group construction and integrated streetscape solutions are facilitated through the location and grouping of lots suitable for terrace and row housing. | E4.1 Any lot sharing a boundary with a Lot Type A must contain a mandatory built to boundary wall on the shared boundary. Note - Built to boundary walls for lots with frontages of 12.5 metres or less are to be shown on a plan of development in accordance with the requirements of section 9.3.1 - Dwelling house code.. |  |  |
|  | E4.2 Driveway crossovers for lots with frontages of less than 10m are paired up to facilitate on-street parking. Note - Driveway locations for lots with frontages of less than 10 metres are to be shown on a plan of development in accordance with Planning Scheme Policy - Residential Design.. |  |  |
| PO5 A range of different lots are distributed throughout the development with no one lot type concentrated within a single location, to create diversity within the streetscape and minimise conflicts between vehicle access and on street parking. | E5.1 Where not accessed via a laneway, a maximum of 4 adjoining lots of the same type in accordance with ‘Table 9.4.1.6.4.3: Lot Types’ - Lot Types are proposed where fronting the same street. |  |  |
|  | E5.2 Where accessed via a laneway, a maximum of 8 adjoining lots of the same type in accordance with ‘Table 9.4.1.6.4.3: Lot Types’ are proposed where fronting the same street. |  |  |
| PO6 Rear lots do not establish in the Urban neighbourhood precinct. | No example provided. |  |  |
| Sloping land |  |  |  |
| PO7 Lot layout and design minimises the impacts of cutting, filling and retaining walls on the visual and physical amenity of the streetscape and of adjoining lots. Note - Refer to Planning scheme policy - Residential design for guidelines on building design on sloped land.. | E7.1 Lot layout and design ensures that a lot has a maximum average slope of 1:15 along its long axis and 1:10 along its short axis. |  |  |
|  | E7.2 Retaining walls and benching and associated cutting, filling and other earthworks associated with reconfiguring a lot are limited to: - a maximum vertical dimension of 1.5m from natural ground for any single retaining structure; or - where incorporating a retaining structure greater than 1.5m in height, the retaining wall is stepped, terraced and landscaped as follows: - maximum 1m vertical, minimum 0.5m horizontal, maximum 2m vertical (refer figure below); or - where incorporating benching along the short axis (from side to side boundary) of a lot: - benching has a maximum total height of 4m per lot - each bench has a maximum height of 2m (refer Figure below); or - Where incorporating benching along the long axis (from front to rear boundary): - benching does not exceed 2m in height; - lots include mandatory built to boundary walls - lots consist of lot type A (7.5m – 8.5m frontage) only; - lots orientate up/down the slope. Note - Benching is to incorporate suitable measures to ensure stabilisation and prevent erosion.. Editor's note - Strict cut and fill requirements apply at the Dwelling house(22) stage. Deferral of slope solutions until building stage is not an acceptable outcome.. |  |  |
| Figure - Sloped lot design |  |  |  |
| PO8 Lots are of a sufficient grade to accommodate effective stormwater drainage to a lawful point of discharge. | E8 The surface level of a lot is at a minimum grade of 1:100 and slopes towards the street frontage, or other lawful point of discharge. |  |  |
| Street design and layout |  |  |  |
| PO9 Street layouts facilitate regular and consistent shaped lots through the use of rectilinear grid patterns, or modified grid patterns where constrained by topographical and other physical barriers. Note - Refer to Planning scheme policy - Neighbourhood design for guidance on how to achieve compliance with this outcome.. | No example provided. |  |  |
| PO10 Street layouts are designed to connect to surrounding neighbourhoods by providing an interconnected street, pedestrian and cyclist networks that connects nearby centres, neighbourhood hubs, community facilities, public transport nodes and open space to residential areas for access and emergency management purposes. The layout ensures that new development is provided with multiple points of access. The timing of transport works ensures that multiple points of access are provided during early stages of a development. Note - Refer to Planning Scheme Policy - Neighbourhood design for guidance on when alternative access points should be provided for emergency management purposes.. | E10.1 Development provides and maintains the connections shown on: - ‘Figure 6 - Dakabin’ - Dakabin; - ‘Figure 7 - Kallangur’ - Kallangur; - ‘Figure 8 - Mango Hill’ - Mango Hill; - ‘Figure 9 - Mango Hill East ’ - Mango Hill East; - ‘Figure 10 - Murrumba Downs’ - Murrumba Downs; - ‘Figure 11 - Narangba East ’ - Narangba East; - ‘Figure 12 - Petrie’ - Petrie. |  |  |
|  | E10.2 All other areas, no example provided. Note - Refer to Planning Scheme Policy - Neighbourhood design for guidance on when alternative access points should be provided for emergency management purposes.. |  |  |
| PO11 Street layouts provide an efficient and legible movement network with high levels of connectivity within and external to the site by: - facilitating increased active transport with a focus on safety and amenity for pedestrians and cyclists; - providing street blocks with a maximum walkable perimeter of 400m (refer to Figure - Street block design); - providing a variety of street block sizes to facilitate a range of intensity and scale in built form; - reducing street block sizes as they approach an activity focus (e.g. centre, neighbourhood hub, community activity, public open space); - facilitating possible future connections to adjoining sites for roads, green linkages and other essential infrastructure. Note - Refer to Planning scheme policy - Neighbourhood design for guidance on how to achieve compliance with this outcome.. | No example provided. |  |  |
| PO12 Street layouts create convenient and highly permeable movement networks between lower and higher order roads, whilst not adversely affecting the safety and function of the higher order road. | No example provided. |  |  |
| PO13 Streets are designed and constructed to cater for: - safe and convenient pedestrian and cycle movement; - on street parking adequate to meet the needs of future residents; - efficient public transport routes; - expected traffic speeds and volumes; - utilities and stormwater drainage; - lot access, sight lines and public safety; - emergency access and waste collection; - waste service vehicles; - required street trees, landscaping and street furniture. Note - Refer to Planning scheme policy - Integrated design for determining design criteria to achieve this outcome.. | No example provided. |  |  |
| PO14 Intersections are designed and constructed to provide for the safe and efficient movement of pedestrians, cyclists, and all forms of light and heavy vehicles. Note - Refer to Planning scheme policy - Integrated design for guidance on how to achieve compliance with this outcome.. | No example provided. |  |  |
| PO15 Cul-de-sacs or dead end streets are not proposed unless: - topography or other physical barriers exist to the continuance of the street network or vehicle connection to an existing road is not permitted; and - there are no appropriate alternative solutions; or - the cul-de-sac or dead end street will facilitate future connections to adjoining land or development. Note - Refer to Planning scheme policy - Neighbourhood design for guidance on achieving this outcome.. | No example provided. |  |  |
| PO16 Where cul-de-sacs are proposed: - head must be visible from the entry point; - are to be no longer than 50 metres in length; - emergency access can be achieved under circumstances where entry via the carriageway may be compromised. | No example provided. |  |  |
| PO17 Where cul-de-sacs are proposed due to connection to existing roads not being permitted, they are to be designed to allow a 10m wide pedestrian connection as public land through to the existing road with no lots proposed at the head of the cul-de-sac generally as shown in the figure below. Figure - Cul-de-sac design Note - Refer to Planning scheme policy - Neighbourhood design for guidance on how to achieve this outcome.. | No example provided. |  |  |
| PO18 Streets are designed and oriented to minimise the impact of cut and fill on the amenity of the streetscape and adjoining development. | E18 Street alignment follows ridges or gullies or runs perpendicular to slope. |  |  |
| PO19 Streets are oriented to encourage active transport through a climate responsive and comfortable walking environment whilst also facilitating lots that support subtropical design practices, including: - controlled solar access & shade provision - cross-ventilation. Note - Refer to Planning scheme policy - Residential design for guidance on how to achieve subtropical design outcomes through dwelling design.. | E19.1 Where not unduly constrained by topography or other physical barrier, streets are primarily oriented within 20 or 30 degrees of North-South or East-West. Figure - Preferred street orientation |  |  |
|  | E19.2 The long axis of a street block is oriented east-west to facilitate a north-south orientation for a majority of lots as per Figure - Street block design. |  |  |
| Figure - Street block design |  |  |  |
| Movement network |  |  |  |
| PO20 The road network creates convenient access to arterial and sub-arterial roads for heavy vehicles and commercial traffic without introducing through traffic to residential streets. | No example provided. |  |  |
| PO21 The road network has sufficient reserve and pavement widths to cater for the current and intended function of the road in accordance with the road type in accordance with Planning scheme policy - Integrated design. | No example provided. |  |  |
| PO22 Movement networks encourage walking and cycling and a safe environment for pedestrians and cyclists. | E22 Pedestrian paths, bikeways and on-road bicycle facilities are provided for the street type in accordance with Planning scheme policy - Integrated design. |  |  |
| PO23 Upgrade works (whether trunk or non-trunk) are provided where necessary to: - ensure the type or volume of traffic generated by the development does not have a negative impact on the external road network; - ensure the orderly and efficient continuation of the active transport network; - ensure the site frontage is constructed to a suitable urban standard generally in accordance with Planning scheme policy - Integrated design. Note - An Integrated Transport Assessment (ITA) may be required to demonstrate compliance with this performance outcome refer to Planning scheme policy - Integrated transport assessment for guidance on when an ITA is required. An ITA should be prepared in accordance with Planning scheme policy - Integrated transport assessment.. Note - The road network is mapped on Overlay map - Road hierarchy.. Note - The primary and secondary active transport network is mapped on Overlay map - Active transport.. Note - To demonstrate compliance with c. of this performance outcome, site frontage works where in existing road reserve (non-trunk) are to be designed and constructed as follows: - Where the street is partially established to an urban standard, match the alignment of existing kerb and channel and provide carriageway widening and underground drainage where required; or - Where the street is not established to an urban standard, prepare a design that demonstrates how the relevant features of the particular road as shown in the Planning scheme policy - Integrated Design can be achieved in the existing reserve.. Note - Refer to Planning scheme policy - Integrated design for road network and active transport network design standards.. | No example provided. |  |  |
| Laneway design and location |  |  |  |
| PO24 Laneway location contributes to a high standard of amenity for adjoining lots and the streetscape. Note - Refer to Planning scheme policy - Neighbourhood design for determining locational criteria for Laneways.. | E24 Laneways are primarily used where: - vehicle access is not permitted from the primary street frontage; or - limiting vehicle access from the primary street frontage results in a positive streetscape outcome;or - where lots directly adjoin a local, district or regional Park(57). |  |  |
| PO25 Laneways service a limited number of allotments, creating a sense of place and enclosed feeling for the pedestrian environment at the non-laneway frontage of the lots whilst contributing to a high level of connectivity of the street network. Note - Refer to Planning scheme policy - Integrated design and Planning scheme policy - Neighbourhood design for determining design criteria for Laneways.. | E25.1 Laneways are limited to 130m in length. |  |  |
|  | E25.2 Laneways are not designed as dead ends or cul-de-sacs, and are to have vehicle connections to an access street at both ends. |  |  |
|  | E25.3 Where laneways exceed 100m in length, a mid lane pedestrian connection is to be provided between the adjacent access streets and the laneway. |  |  |
| PO26 Laneway design ensures the safety of pedestrians, cyclists and motorists by way of site lines, and sufficient road reserve for vehicle movements and the provision of street lighting. Note - Refer to Planning scheme policy - Integrated design and Planning scheme policy - Neighbourhood design for determining design criteria for Laneways.. | E26.1 Laneways are designed with minor meanders only, and maintain direct lines of sight from one end of the laneway to the other. |  |  |
|  | E26.2 Laneways provide road dedication at strategic locations along the laneway to allow the construction of street lighting and any electrical pillars associated with the street lighting in accordance with current Australian Standards. Note - The dedication must allow for street lights on to be provided on Council’s standard alignment. |  |  |
| Park(57) and open space |  |  |  |
| PO27 A hierarchy of Park(57) and open space is provided to meet the recreational needs of the community. Note - To determine the extent and location of Park(57) and open space required refer to Planning scheme policy - Integrated design.. Note - District level Parks(57) or larger may also be required in certain locations in accordance with Part 4: Local Government Infrastructure Plan.. | No example provided. |  |  |
| PO28 Park(57) is to be provided within walking distance of all new residential lots. Note - To determine maximum walking distances for Park(57) types refer to Planning scheme policy - Integrated design.. | No example provided. |  |  |
| PO29 Park(57) is of a size and design standard to meet the needs of the expected users. Note - To determine the size and design standards for Parks(57) refer to Planning scheme policy - Integrated design.. | No example provided. |  |  |
| PO30 Parks(57) are designed and located to be safe and useable for all members of the community with high levels of surveillance, based on Crime Prevention Through Environmental Design principles, and access. | E30.1 Local and district Parks(57) are bordered by streets and lots orientated to address and front onto Parks and not lots backing onto or not addressing the Park wherever possible. |  |  |
|  | E30.2 Where lots do adjoin local and district Parks(57), and fencing is provided along the Park(57) boundary, it is located within the lot and at a maximum height of 1m. |  |  |
|  | E30.3 The design of fencing and retaining features allows for safe and direct pedestrian access between the Park(57) and private allotment through the use of private gates and limited retaining features along Park(57) boundaries. |  |  |
| Boundary realignment |  |  |  |
| PO31 Boundary alignments ensure that infrastructure and services are wholly contained within the lot they serve. | No example provided. |  |  |
| PO32 Boundary realignment does not result in - existing land uses on-site becoming non-complying with planning scheme criteria; - lots being unserviced by infrastructure. Note - Examples may include but are not limited to: - minimum lot size requirements; - setbacks; - parking and access requirements;s - servicing and Infrastructure requirements; - dependant elements of an existing or approved land use being separately titled, including but not limited to: - Where premises are approved as Multiple Dwelling(49) Units with a communal open space area, the communal open space cannot be separately titled as it is required by the Multiple Dwelling(49) approval. - Where a commercial or industrial land use contains an ancillary office(53), the office(53) cannot be separately titled as it is considered part of the commercial or industrial use. - Where a Dwelling house(22) includes a secondary dwelling or associated outbuildings, they cannot be separately titled as they are dependent on the Dwelling house(22) use.. | No example provided. |  |  |
| PO33 Boundary realignment results in lots which have appropriate size, dimensions and access to cater for uses consistent with the precinct. Note - Refer to overall outcomes for the General residential zone - Urban neighbourhood precinct for uses consistent in this precinct.. | E33 Lot sizes and dimensions (excluding an access handles) comply with Lot Types A, B or F in accordance with ‘Table 9.4.1.6.4.3: Lot Types’ - Lot Types. |  |  |
| Reconfiguring existing development by Community Title |  |  |  |
| PO34 Reconfiguring a lot which creates or amends a community title scheme as described in the Body Corporate and Community Management Act 1997 is undertaken in a way that does not result in existing uses on the land becoming unlawful or otherwise operating in a manner that is: - inconsistent with any approvals on which those uses rely; or - inconsistent with the requirements for accepted development applying to those uses at the time that they were established. Note -Examples of land uses becoming unlawful include, but are not limited to the following: - Land on which a Dual occupancy(21) has been established is reconfigured in a way that results in both dwellings no longer being on the one lot. The reconfiguring has the effect of transforming the development from a Dual occupancy(21) to two separate Dwelling(22) houses, at least one of which does not satisfy the requirements for accepted development applying to Dwelling houses. - Land on which a Multiple dwelling(49) has been established is reconfigured in a way that precludes lawful access to required communal facilities by either incorporating some of those facilities into private lots or otherwise obstructing the normal access routes to those facilities. Those communal facilities may have been required under the requirements for accepted development for the use or conditions of development approval.. Editor's note - To satisfy this performance outcome, the development application may need to be a combined application for reconfiguring a lot and a material change of use or otherwise be supported by details that confirm that the land use still satisfies all relevant land use requirements.. | No example provided. |  |  |
| Reconfiguring by Lease |  |  |  |
| PO35 Reconfiguring a lot which divides land or buildings by lease in a way that allows separate occupation or use of those facilities is undertaken in a way that does not result in existing uses on the land becoming unlawful or otherwise operating in a manner that is: - inconsistent with any approvals on which those uses rely; or - inconsistent with the requirements for accepted development applying to those uses at the time that they were established. Note - An example of a land use becoming unlawful is a Multiple dwelling(49) over which one or more leases have been created in a way that precludes lawful access to some of the required communal facilities. Some of the communal car parking facilities have been incorporated into lease areas while other leases are located in a way that obstructs the normal access routes to other communal facilities. Those communal facilities may have been required under the requirements for accepted development for the use or conditions of development approval, but they are no longer freely available to all occupants of the Multiple dwelling(49).. Editor's note -To satisfy this performance outcome, the development application may need to be supported by details that confirm that the land use still satisfies all relevant land use requirements.. Editor’s note – Under the definition in Schedule 2 of the Act, the following do not constitute reconfiguring a lot and are not subject to this performance outcome: - a lease for a term, including renewal options, not exceeding 10 years; and - an agreement for the exclusive use of part of the common property for a community titles scheme under the Body Corporate and Community Management Act 1997.. | No example provided. |  |  |
| Volumetric subdivision |  |  |  |
| PO36 The reconfiguring of the space above or below the surface of the land ensures appropriate area, dimensions and access arrangements to cater for uses consistent with the precinct and does not result in existing land uses on-site becoming non-complying with planning scheme criteria. Note - Examples may include but are not limited to: - Where a Dwelling house(22) includes a secondary dwelling or associated outbuildings, they cannot be separately titled as they are dependent on the Dwelling house(22) use.. | No example provided. |  |  |
| Reticulated supply |  |  |  |
| PO37 Each lot is provided with an appropriate level of service and infrastructure commensurate with the precinct. All services, including water supply, stormwater management, sewage disposal, stormwater disposal, drainage, electricity, telecommunications and gas (if available) are provided in a manner that: - is efficient in delivery of service; - is effective in delivery of service; - is conveniently accessible in the event of maintenance or repair; - minimises whole of life cycle costs for that infrastructure; - minimises risk of potential adverse impacts on the natural and built environment; - minimises risk of potential adverse impact on amenity and character values; - recognises and promotes Councils Total Water Cycle Management policy and the efficient use of water resources. | E37 Where available, new lots are provided with: - a connection to the reticulated water supply infrastructure network; - a connection to the sewerage infrastructure network; - a connection to the reticulated electricity infrastructure network; - A physical connection to the telecommunication network, that where available to the land is part of the high speed broadband network. |  |  |
| Stormwater location and design |  |  |  |
| PO38 The development is planned and designed considering the land use constraints of the site and incorporates water sensitive urban design principles. | No example provided. |  |  |
| PO39 All inter-allotment stormwater drainage infrastructure located within private land and burdening another lot is protected by easements in favour of Council with sufficient area for practical access for maintenance. Note - Refer to Planning scheme policy - Integrated design for guidance on how to demonstrate achievement of this performance outcome.. | No example provided. |  |  |
| PO40 Stormwater management facilities are located outside of riparian areas and prevent increased channel bed and bank erosion. | No example provided. |  |  |
| PO41 Natural streams and riparian vegetation are retained and enhanced through revegetation. | No example provided. |  |  |
| PO42 Areas constructed as detention basins are adaptable for passive recreation. | No example provided. |  |  |
| PO43 Development maintains the environmental values of waterway ecosystems. | No example provided. |  |  |
| PO44 Constructed water bodies are not dedicated as public assets. | No example provided. |  |  |
| Stormwater management system |  |  |  |
| PO45 The major drainage system has the capacity to safely convey stormwater flows for the defined flood event. | E45 The roads, drainage pathways, drainage features and waterways safely convey the stormwater flows for the defined flood event without allowing flows to encroach upon private lots. |  |  |
| PO46 Overland flow paths (for any storm event) from newly constructed roads and public open space areas do not pass through private lots. | E46 Drainage pathways are provided to accommodate overland flows from roads and public open space areas. |  |  |
| PO47 Where located within the Upper Pine, Hays Inlet and Burpengary Creek catchments, development achieves the greater pollutant removal of: - 100% reductions in mean annual loads from unmitigated development for total suspended solids, total phosphorus, total nitrogen and gross pollutants >5mm; - the stormwater management design objectives relevant for Moreton Bay Regional Council identified in Table A and B in Appendix 3 of the SPP. Note - To demonstrate compliance with this PO a stormwater quality management plan is to be prepared by a suitable qualified person demonstrating compliance with the Urban Stormwater Planning Guideline 2010, Planning Scheme Policy – Stormwater Management, Planning Scheme Policy - Integrated Design and considering any local area stormwater management planning prepared by Council.. Note - Refer to Overlay map - Stormwater catchments for catchment boundaries.. | No example provided. |  |  |
| PO48 Where located outside the Upper Pine, Hays Inlet and Burpengary Creek catchments, development achieves the design objectives in Tables A and B in Appendix 2 of the SPP. Note - To demonstrate compliance with this PO a stormwater quality management plan is to be prepared by a suitable qualified person demonstrating compliance with the Urban Stormwater Planning Guideline 2010, Planning Scheme Policy – Stormwater Management, Planning Scheme Policy - Integrated Design and considering any local area stormwater management planning prepared by Council.. Note - Refer to Overlay map - Stormwater catchments for catchment boundaries.. | No example provided. |  |  |
| PO49 The stormwater management system is designed to: - protect the environmental values in downstream waterways; - maintain ground water recharge areas; - preserve existing natural wetlands and associated buffers; - avoid disturbing soils or sediments; - avoid altering the natural hydrologic regime in acid sulphate soil and nutrient hazardous areas. - maintain and improve receiving water quality; - protect natural waterway configuration; - protect natural wetlands and vegetation; - protect downstream and adjacent properties; - protect and enhance riparian areas. | No example provided. |  |  |
| PO50 Design and construction of the stormwater management system: - utilise methods and materials to minimise the whole of lifecycle costs of the stormwater management system; - are coordinated with civil and other landscaping works. Note - Refer to Planning scheme policy - Integrated design for guidance on how to demonstrate achievement of this performance outcome.. | No example provided. |  |  |
| Native vegetation where not located in the Environmental areas overlay |  |  |  |
| PO51 Reconfiguring a lot facilitates the retention of native vegetation by: - incorporating native vegetation and habitat trees into the overall subdivision design, development layout, on-street amenity and landscaping where practicable; - ensuring habitat trees are located outside a development footprint. Where habitat trees are to be cleared, replacement fauna nesting boxes are provided at the rate of 1 nest box for every hollow removed. Where hollows have not yet formed in trees > 80cm in diameter at 1.3m height, 3 nest boxes are required for every habitat tree removed. - providing safe, unimpeded, convenient and ongoing wildlife movement; - avoiding creating fragmented and isolated patches of native vegetation. - ensuring that biodiversity quality and integrity of habitats is not adversely impacted upon but are maintained and protected; - ensuring that soil erosion and land degradation does not occur; - ensuring that quality of surface water is not adversely impacted upon by providing effective vegetated buffers to water bodies. | No example provided |  |  |
| Noise |  |  |  |
| PO52 Noise attenuation structure (e.g. walls, barriers or fences): - contribute to safe and usable public spaces, through maintaining high levels of surveillance of parks, streets and roads that serve active transport purposes (e.g. existing or future pedestrian paths or cycle lanes etc); - maintain the amenity of the streetscape. Note - A noise impact assessment may be required to demonstrate compliance with this PO. Noise impact assessments are to be prepared in accordance with Planning scheme policy - Noise.. Note - Refer to Planning Scheme Policy – Integrated design for details and examples of noise attenuation structures.. | E52 Noise attenuation structures (e.g. walls, barriers or fences): - are not visible from an adjoining road or public area unless; - adjoining a motorway or rail line; or - adjoining part of an arterial road that does not serve an existing or future active transport purpose (e.g. pedestrian paths or cycle lanes) or where attenuation through building location and materials is not possible. - do not remove existing or prevent future active transport routes or connections to the street network; - are located, constructed and landscaped in accordance with Planning scheme policy - Integrated design. Note - Refer to Planning Scheme Policy – Integrated design for details and examples of noise attenuation structures.. Note - Refer to Overlay map – Active transport for future active transport routes.. |  |  |

| Values and constraints criteria Note - The relevant values and constraints criteria do not apply where the development is consistent with a current Development permit for Reconfiguring a lot or Material change of use or Operational work, where that approval has considered and addressed (e.g. through a development footprint plan (or similar in the case of Landslide hazard) or conditions of approval) the identified value or constraint under this planning scheme.. |
| --- |
| Bushfire hazard (refer Overlay map - Bushfire hazard to determine if the following assessment criteria apply) Note - The preparation of a bushfire management plan in accordance with Planning scheme policy - Bushfire prone areas can assist in demonstrating compliance with the following performance criteria. The identification of a development footprint will assist in demonstrating compliance with the following performance criteria.. |
| PO53 Lots are designed to: - minimise the risk from bushfire hazard to each lot and provide the safest possible siting for buildings and structures; - limit the possible spread paths of bushfire within the reconfiguring; - achieve sufficient separation distance between development and hazardous vegetation to minimise the risk to future buildings and structures during bushfire events; - maintain the required level of functionality for emergency services and uses during and immediately after a natural hazard event. | E53 Reconfiguring a lot ensures that all new lots are of an appropriate size, shape and layout to allow for the siting of future buildings being located: - within an appropriate development footprint; - within the lowest hazard locations on a lot; - to achieve minimum separation between development or development footprint and any source of bushfire hazard of 20m or the distance required to achieve a Bushfire Attack Level BAL (as identified under AS3959-2009), whichever is the greater; - to achieve a minimum separation between development or development footprint and any retained vegetation strips or small areas of vegetation of 10m or the distance required to achieve a Bushfire Attack Level BAL (as identified under AS3959-2009), whichever is the greater; - away from ridgelines and hilltops; - on land with a slope of less than 15%; - away from north to west facing slopes. |  |  |
| PO54 Lots provide adequate water supply and infrastructure to support fire-fighting. | E54 For water supply purposes, reconfiguring a lot ensures that: - lots have access to a reticulated water supply provided by a distributer retailer for the area; or - where no reticulated water supply is available, on-site fire fighting water storage containing not less than 10000 litres and located within a development footprint. |  |  |
| PO55 Lots are designed to achieve: - safe site access by avoiding potential entrapment situations; - accessibility and manoeuvring for fire-fighting during bushfire. | E55 Reconfiguring a lot ensures a new lot is provided with: - direct road access and egress to public roads; - an alternative access where the private driveway is longer than 100m to reach a public road; - driveway access to a public road that has a gradient no greater than 12.5%; - minimum width of 3.5m. |  |  |
| PO56 The road layout and design supports: - safe and efficient emergency services access to all lots; and manoeuvring within the subdivision; - availability and maintenance of access routes for the purpose of safe evacuation. | E56 Reconfiguring a lot provides a road layout which: - includes a perimeter road that separating the new lots from hazardous vegetation on adjacent lots incorporating by: - a cleared width of 20m; - road gradients not exceeding 12.5%; - pavement and surface treatment capable of being used by emergency vehicles; - Turning areas for fire fighting appliances in accordance with Qld Fire and Emergency Services' Fire Hydrant and Vehicle Access Guidelines. - Or if the above is not practicable, a fire maintenance trail separates the lots from hazardous vegetation on adjacent lots incorporating: - a minimum cleared width of 6m and minimum formed width of 4m; - gradient not exceeding 12.5%; - cross slope not exceeding 10%; - a formed width and erosion control devices to the standards specified in Planning scheme policy - Integrated design; - a turning circle or turnaround area at the end of the trail to allow fire fighting vehicles to manoeuvre; - passing bays and turning/reversing bays every 200m; - an access easement that is granted in favour of the Council and the Queensland Fire and Rescue Service or located on public land. - excludes cul-de-sacs, except where a perimeter road with a cleared width of 20m isolates the lots from hazardous vegetation on adjacent lots; and - excludes dead-end roads. |  |  |
| Environmental areas (refer Overlay map - Environmental areas to determine if the following assessment criteria apply) Note - The identification of a development footprint will assist in demonstrating compliance with the following performance criteria. Editors' Note - The accuracy of overlay mapping can be challenged through the development application process (code assessable development) or by way of a planning scheme amendment. See Council's website for details.. |
| PO57 No new boundaries are located within 2m of High Value Areas. | No example provided |  |  |
| PO58 Lots are designed to: - minimise the extent of encroachment into the MLES waterway buffer or a MLES wetland buffer; - ensure quality and integrity of biodiversity and ecological values is not adversely impacted upon but are maintained and protected; - incorporate native vegetation and habitat trees into the overall subdivision design, development layout, on-street amenity and landscaping where practicable; - provide safe, unimpeded, convenient and ongoing wildlife movement; - avoid creating fragmented and isolated patches of native vegetation; - ensuring that soil erosion and land degradation does not occur; - ensuring that quality of surface water is not adversely impacted upon by providing effective vegetated buffers to water bodies. AND Where development results in the unavoidable loss of native vegetation within a MLES waterway buffer or a MLES wetland buffer, an environmental offset is required in accordance with the environmental offset requirements identified in Planning scheme policy - Environmental areas. | E58 Reconfiguring a lot ensures that no additional lots are created within a Value Offset Area. |  |  |
| Extractive resources transport route buffer (refer Overlay map - Extractive resources to determine if the following assessment criteria apply) Note - The identification of a development footprint will assist in demonstrating compliance with the following performance criteria.. |
| PO59 Lots provide a development footprint outside of the buffer. | No example provided. |  |  |
| PO60 Access to a new lot is not from an identified extractive industry transportation route, but to an alternative public road. | No example provided. |  |  |
| Heritage and landscape character (refer Overlay map - Heritage and landscape character to determine if the following assessment criteria apply) Note - The identification of a development footprint will assist in demonstrating compliance with the following performance criteria.. |
| PO61 Lots do not: - reduce public access to a heritage place, building, item or object; - create the potential to adversely affect views to and from the heritage place, building, item or object; - obscure or destroy any pattern of historic subdivision, historical context, landscape setting or the scale and consistency of the urban fabric relating to the local heritage place. | No example provided. |  |  |
| PO62 Reconfiguring a lot retains significant trees and incorporates them into the subdivision design, development layout and provision of infrastructure. | No example provided. |  |  |
| Infrastructure buffers (refer Overlay map - Infrastructure buffers to determine if the following assessment criteria apply) Note - The identification of a development footprint will assist in demonstrating compliance with the following performance criteria.. |
| Bulk water supply infrastructure |  |  |  |
| PO63 Reconfiguration of lots does not compromise or adversely impact upon the efficiency and integrity of Bulk water supply infrastructure. | No example provided. |  |  |
| PO64 Reconfiguring of lots ensures that access requirements of Bulk water supply infrastructure are maintained. | E64 Bulk water supply infrastructure traversing or within private land are protected by easement in favour of the service provider for access and maintenance. |  |  |
| PO65 Development within a Bulk water supply infrastructure buffer: - is located, designed and constructed to protect the integrity of the water supply pipeline; - maintains adequate access for any required maintenance or upgrading work to the water supply pipeline. | E65 New lots provide a development footprint outside the Bulk water supply infrastructure buffer. |  |  |
| PO66 Boundary realignments: - do not result in the creation of additional building development opportunities within the buffer; - results in the reduction of building development opportunities within the buffer. | No example provided. |  |  |
| Landslide hazard (refer Overlay map - Landslide hazard to determine if the following assessment criteria apply) Note - The preparation of a site-specific geotechnical assessment report in accordance with Planning scheme policy - Landslide hazard can assist in demonstrating compliance with the following performance criteria. The identification of a development footprint will assist in demonstrating compliance with the following performance criteria.. |
| PO67 Lots ensure that: - future development is located in part of a site not subject to landslide risk; - the need for excessive on-site works, change to finished landform, or excessive vegetation clearance to provide for future development is avoided; - there is minimal disturbance to natural drainage patterns; - earthworks does not: - involve cut and filling having a height greater than 1.5m; - involve any retaining wall having a height greater than 1.5m; - involve earthworks exceeding 50m3; - redirect or alter the existing flows of surface or groundwater. | E67.1 Lot provides development footprint for all lots free from risk of landslide. |  |  |
|  | E67.2 Development footprints for lots does not exceed 15% slope. |  |  |
| Overland flow path (refer Overlay map - Overland flow path to determine if the following assessment criteria apply) Note - The applicable river and creek flood planning levels associated with defined flood event (DFE) within the inundation area can be obtained by requesting a flood check property report from Council.. |
| PO68 Development: - minimises the risk to persons from overland flow; - does not increase the potential for damage from overland flow either on the premises or on a surrounding property, public land, road or infrastructure. | No example provided. |  |  |
| PO69 Development: - maintains the conveyance of overland flow predominantly unimpeded through the premises for any event up to and including the 1% AEP for the fully developed upstream catchment; - does not concentrate, intensify or divert overland flow onto an upstream, downstream or surrounding property. Note - Reporting to be prepared in accordance with Planning scheme policy – Flood hazard, Coastal hazard and Overland flow... | E69 Development ensures that any buildings are not located in an Overland flow path area. Note: A report from a suitably qualified Registered Professional Engineer Queensland is required certifying that the development does not increase the potential for significant adverse impacts on an upstream, downstream or surrounding property.. |  |  |
| PO70 Development does not: - directly, indirectly or cumulatively cause any increase in overland flow velocity or level; - increase the potential for flood damage from overland flow either on the premises or on a surrounding property, public land, road or infrastructure. Note - Open concrete drains greater than 1m in width are not an acceptable outcome, nor are any other design options that may increase scouring.. Note - A report from a suitably qualified Registered Professional Engineer Queensland is required certifying that the development does not increase the potential for significant adverse impacts on an upstream, downstream or surrounding premises.. Note - Reporting to be prepared in accordance with Planning scheme policy – Flood hazard, Coastal hazard and Overland flow. | No example provided. |  |  |
| PO71 Development ensures that overland flow is not conveyed from a road or public open space onto a private lot, unless the development is in a Rural zone. | E71 Development ensures that overland flow paths and drainage infrastructure is provided to convey overland flow from a road or public open space area away from a private lot, unless the development is in the Rural zone. |  |  |
| PO72 Development ensures that Council and inter-allotment drainage infrastructure, overland flow paths and open drains through private property cater for overland flows for a fully developed upstream catchment flows and are able to be easily maintained. Note - A report from a suitably qualified Registered Professional Engineer Queensland is required certifying that the development does not increase the potential for significant adverse impacts on an upstream, downstream or surrounding premises.. Note - Reporting to be prepared in accordance with Planning scheme policy – Flood hazard, Coastal hazard and Overland flow. | E72.1 Development ensures that roof and allotment drainage infrastructure is provided in accordance with the following relevant level as identified in QUDM: - Urban area – Level III; - Rural area – N/A; - Industrial area – Level V; - Commercial area – Level V. |  |  |
|  | E72.2 Development ensures that all Council and allotment drainage infrastructure is designed to accommodate any event up to and including the 1% AEP for the fully developed upstream catchment. |  |  |
| PO73 Development protects the conveyance of overland flow such that easements for drainage purposes are provided over: - a stormwater pipe if the nominal pipe diameter exceeds 300mm; - an overland flow path where it crosses more than one property; and - inter-allotment drainage infrastructure. Note - Refer to Planning scheme policy - Integrated design for details and examples.. Note - Stormwater drainage easement dimensions are provided in accordance with Section 3.8.5 of QUDM.. | No example provided |  |  |
| Additional criteria for development for a Park(57) |  |  |  |
| PO74 Development for a Park(57) ensures that the design and layout responds to the nature of the overland flow affecting the premises such that: - public benefit and enjoyment is maximised; - impacts on the asset life and integrity of park structures is minimised; - maintenance and replacement costs are minimised. | E74 Development for a Park(57) ensures works are provided in accordance with the requirements set out in Appendix B of the Planning scheme policy - Integrated Design. |  |  |
| Riparian and wetland setbacks (refer Overlay map - Riparian and wetland setback to determine if the following assessment criteria apply) Note - - W1, W2 and W3 waterway and drainage lines, and wetlands are mapped on Schedule 2, Section 2.5 Overlay Maps – Riparian and wetland setbacks.. |
| PO75 Lots are designed to: - minimise the extent of encroachment into the riparian and wetland setback; - ensure the protection of wildlife corridors and connectivity; - reduce the impact on fauna habitats; - minimise edge effects; - ensure an appropriate extent of public access to waterways and wetlands. | E75 Reconfiguring a lot ensures that: - no new lots are created within a riparian and wetland setback; - new public roads are located between the riparian and wetland setback and the proposed new lots. Note - Riparian and wetlands are mapped on Schedule 2, Section 2.5 Overlay Maps – Riparian and wetland setbacks.. |  |  |
| Scenic amenity (refer Overlay map - Scenic amenity to determine if the following assessment criteria apply) Note - The identification of a development footprint will assist in demonstrating compliance with the following performance criteria.. |
| PO76 New lots are sited, designed and oriented to: - maximise the retention of existing trees and land cover including the preservation of coastal trees; - maximise the retention of highly natural and vegetated areas and natural landforms by minimising the use of cut and fill. | No example provided. |  |  |

Table 9.4.1.6.4.3: Lot Types

Density Figures

Figure 1 - Kallangur

Figure 2 - Mango Hill

Figure 3 - Mango Hill East

Figure 4 - Murrumba Downs

Figure 5 Kippa-Ring

Movement Figures

Figure 6 - Dakabin

Figure 7 - Kallangur

Figure 8 - Mango Hill

Figure 9 - Mango Hill East

Figure 10 - Murrumba Downs

Figure 11 - Narangba East

Figure 12 - Petrie